## Bidders Conf Summary Q&A
Ref | Subject | Questions | Response
1 | Resource Request | When you say up to 200, is that a hard max? | No. Avista would consider proposals for energy exceeding 200 aMW dependent on their ability to meet criteria
2 | Resource Request | Are you looking for winter or summer DR or both? | Both
3 | Resource Request | So to understand, Renewables (Wind or Solar) are a requirement? | No. Avista is open to all resources to meet its capacity request.
4 | Demand Response | For DR, are you looking for proposals that include a single asset or multiple assets? | Avista is open to proposals with one or more than one resource.
5 | Resource Request | Is the 200 aMW part of the Summer/Winter capacity? | It can be. The 200 aMW is an attribute goal independent of the capacity target. Generation into the capacity target can also serve the 200 aMW energy goal and visa versa.
6 | Resource Request | Is there a preference to meet your capacity needs, whether battery gas or something else? | No preference
7 | Technology Type | could Avista confirm if the capacity resource is limited to gas? or battery as well | Capacity resource targets can be met with any resource type capable of meeting (all or in part) the stated capacity values for winter and/or summer.
8 | Contract Duration | For how long will you need the power? | Avista is open to differing contract lengths. Historically, PPA requests have been 20+ years.
9 | Confidentiality | Is there and assumed NDA for the details of the bids? How is information protected? | The Confidentiality Agreement is included as Exhibit A in the RFP Packet.
10 | Process | Where on the website will the summary be posted? On the RFP page? | Yes. Please see www.myavista.com/allsourcerfp
11 | Transmission | Will u participate in CAISO EDAM? And, how r u coordinating transmission with PSE? | Avista has not made a determination on which day-ahead market it will participate in. We do not directly interconnect with PSE. Avista and PSE both participate in Mid-C so there are some common transmission in the general location but we don't directly coordinate transmission with PSE.
12 | Transmission | Projects not in the Cluster Study can participate in the RFP but have a valid IXN plan to reach the COD? | Correct. Parties responding to this RFP do not need to be in the current cluster study but must demonstrate their transmission and interconnection plan to deliver power to Avista's system.
13 | Transmission | The 2025 all source references the 2025 interconnection cluster study, will that be available? | Yes that will be available and Phase One will be posted on Avista's OASIS when it is completed.
14 | Transmission | Sorry if you said this and I missed it. Is there a requirement for projects to have NRIS? Or will projects with ERIS also be considered? | Proposals can have either NRIS or ERIS.
15 | Transmission | Are all of these delivery points acceptable for bidders to propose in the RFP? Or is there a smaller list of required or preferred delivery points? | All delivery points in Table 1 are valid delivery points.
16 | Self-Build | Will Avista be bidding in any self-build projects (solar or BESS) ? | Avista anticipates that a self build project may be bid into the RFP.
17 | Resource Request | capacity can come from any resource | Yes.
18 | Location | Is there any availability for resources in OR to Avista? | There are no requirements that prevent a resource from being sited in OR, however, it will be up to the submitting bidder to provide a transmission and interconnection plan for that resource.
19 | Self-Build | Thank you. Who is the Avista contact we should discuss self-build with ? | <Email was forwarded to Avista's Self-Build Team>
20 | Location | Do you have specific locations for the power, are those locations in the RFP? Will Avista be purchasing that location or locations and is that for the power supplier? | No there are no specific locations and the proposals submitted would be responsible for identifying the site associated with their project.
21 | Process | Will Avista provide responses to questions sent via email outside of this meeting? | Yes and they will be provided on the website.
22 | Process | Exhibits C&D appear directed at supply side resources. For DR does exhibit H replace exhibit C or is it in addition to | For DR projects, Exhibit H is required in addition to Exhibit C. Both exhibits contain DR specific questions.
23 | Evaluation | How is Avista analyzing price? Does Avista use outside sources to determine actionable in-market prices? | Avista uses both market pricing and internal modeling when evaluating proposals. Proposals will be compared against other submitted bids along with incorporating external pricing data.
24 | Bid Submission | Do vendors who are only bidding on DR have to pay a bid fee? | Yes. However, there is an exemption available for bids that meet the exemption criteria.
25 | Bid Submission | Just to be clear, one bid fee covers a main bid + 2 options? | Correct.
26 | Bid Submission | what is the time frame between invoices sent and due date? | Industry standard of 2-weeks
27 | Bid Submission | What are the exemption conditions? | Exemptions are available for one DR submission that is less than 20 MW in size. Up to two options are allowed.
28 | Process | Ryan, has Avista done one of these type of project before? If so, when and what type of power was chosen? | Yes. Avista has chosen a variety of resources in its previous All Source and Renewable RFPs.
29 | Process | During the pricing refresh stage will there be an opportunity to update our Wind Turbine technology/Layout based on updated pricing we receive from manufacturers? | The price refresh should focus on project pricing, minor updates to design will be considered.
30 | Bid Submission | Does bid fee still apply if only bidding Avista's self-build? | Avista’s bid team is also subject to a bid fee. However, to clarify, the self-build option will be managed through a separate, independent process with Avista’s bid team and will adhere to the specific requirements established for that process.
31 | Demand Response | Would the commercial terms for the DR program be a power purchase agreement or something like a professional services contract? | it would be a MSA or other form of contract. It would not be a PPA.
32 | Evaluation | Would the letter of credit and other contractual requirements outlined in the Proposal Outline (Exhibit B-1) apply to the DR program? | Yes. The credit requirements apply to all proposals.
33 | Process | Exhibit G is a standard PPA form, will Avista consider an agreement form specific to Energy Storage resources? | Yes, as part of the negotiation process, Avista would consider other contract formats. Note that the negotiation process occurs after the short-list of bidders has been determined.
34 | Process | When will this recording be able available? | Shortly after the conference's conclusion.
35 | Demand Response | Can you provide zip codes of your service territory to help us size the market potential for DR? | Yes. They will be added to the webpage.
36 | Demand Response | Is there an existing DERMS that AVISTA has? | No. Avista does not have an existing DERMS.
37 | Demand Response | What baselining methodologies will u use for DR? | Avista currently uses a 3 in 10 day with no day of adjustment for it's Peak Time Rebate pilot. This methodogy may change post-pilot. We are open to looking at other hueristic baseline calculations or control groups. Please explain your baseline and settlement practices in your bid.
38 | Demand Response | is there a preferred time window for demand response resources to be available? | We are looking to contract as soon as we can start programs which is as early as 2026.
39 | Demand Response | Are there specific substations and feeders which the DR program should target and if so will you provide those. Zip code would be too coarse to maximize value. | The RFP is looking at system wide resources and not specific to distribution level solutions.
40 | Demand Response | apologies, I meant - is there a time of day that you are looking for demand response resources to be called, generally | Generally 2 pm to 7 pm are the peak times that we are seeking solutions for. However, this changes on a seasonal basis.
41 | Demand Response | For Exhibit B1, can you state which items DR proposals need to respond to eg do we need to address “insurance section” | Demand Response proposals should respond to B-1 to the extent that the question is applicable to their submitted project. Typically Customer Programs contracts require vendors to carry a liability policy and name Avista as additionally insured.
42 | Demand Response | Would it be ok if we provided a detailed proposal (Exhibit H) before 6/30…or do we have to wait until we’re shortlisted? | Yes.
43 | Demand Response | For clarity, Initial DR Proposals should include: Exhibits A, B-1, and B-2. Do we need to submit Exhibit F or G? | Exhibit G would not be required as it is a PPA template. However, Exhibit F - the Customer Information Release would need to be submitted.

## Email Q&A
Ref | Questions | Response
1 | Would you be willing to review edits to your NDA form, or do we need to sign as is? | Not at this time. Because our efforts are aimed at standardizing the process, it would become impractical to deviate from a single NDA form for the intial portion of this RFP.
2 | Is there more details/information that can be provided on RFP bid fee wiring instructions, bank information and the bidder's conference? | The bid fee will be invoiced to the bidding party after the bid is received. After receiving the bid(s), our accounting team will provide an invoice to the bidder shortly after that. The invoice will provide the necessary information for ACH. At that time a W-9 will be provided.
3 | During the WUTC review, Avista explained that the company "will consider bids with non-firm transmission, however, the proposal would need to demonstrate a path forward to meet the specified QCC values in the RFP." Would Avista be willing to provide more clarity around the QCC values in the final RFP? | The “…QCC values in the RFP” is referring to Avista’s resource ask rather than QCC values specific to resource types. The intent of that response was to indicate that the bid would need to demonstrate a path forward to meet the resource request which are summer and/or winter capacity values (section III of the AS RFP).
4 | Are the locations shown in Table 1 the only Location/Resources the only points of delivery that will be accepted? | No. Table 1 represents the available transmission for resources interconnected to a 3rd party, needing transmission capacity for delivery to Avista's retail customers. The bidder must include their own interconnection and transmission plan within their proposal.
5 | It appears the Montana location has the largest ATC (at 268 MW). If a proposal has a higher capacity , would it have to include a transmissions facilities upgrade study/cost in order to provide more than the 268 MW listed at the Montana location? | Yes. Ultimately the bid would need to provide a plan for the delivery of power up to the resource capacity proposed. And that may require securing or upgraded the transmission system for delivery to Avista's retail customers. Please note, AVAT.NWMT is specifically Avista’s transmission capacity that interfaces with Northwestern Energy, it is not the sole path for transmission service out of Montana.
6 | The BPA location shows 64 MW available. However, the 2025 Cluster Study Plan (May 7, 2025 Draft) shows the BPA location with a POR of over 1200 MW. Please confirm the ATC available from BPA. | The 64 MW value in the 2025 All-Source RFP is representative of yearly ATC beginning in January 2027 going forward. This value is subject to change. For the most current information, please refer to Avista’s OASIS. The 1247 MW of yearly ATC referenced in the 2025 Cluster Study Plan is based on a January 2030 start date, though it was not clearly explained. This reflects a less conservative approach, as later dates in OASIS do not account for transmission customer’s rollover rights. Avista’s System Planning team will revise the study plan to provide a clearer explanation of the 1247 MW figure and the assumptions behind it.
7 | Can your team provide a word copy of 250155-AVA-Exhibit G - RFP PPA Template? | We are only providing the PDF version at this time
8 | The RFP states that financial penalties may apply for non-performance of DR resources. Can you provide more information on how these penalties will be calculated? Are all sub-sections of the Company Overview outline applicable (required) for DR proposals? | That is dependent on the costs associated with any type of replacement product we would need to acquire in place of the non-performance resource. This would be an item that is discussed through the contracting process. All subsections referfenced are applicable to DR.
9 | Please confirm what information should be provided in the interconnection and transmission plan for demand response proposals (if any). | This would not be applicable to DR programs unless there is a transmission and delivery of power component within the proposal.
10 | Is Exhibit G – RFP PPA Template applicable for demand response-only proposals? | No. PPAs would be applicable for the purchase of power and is generally for supply side resources. Exhibit G was included as an example but for contracting with DR programs, a separate agreement would be developed.
11 | Can a company bid on demand response as well as on capacity delivery in one proposal, or would two proposals be required? | If they are two separate products, then two bids would be requested. However DR proposals are able to receive an exemption from bid fees for proposals up to 20MW with those two options such as variations in resource size, point of interconnection or delivery
12 | Can capacity delivery be on the distribution network or must it be on the transmission network? | Avista will accept proposals that include generation delivered within Avista’s network or outside of Avista’s network. It will be the requirement of the bidder to demonstrate their transmission and interconnection plan within their bid.
13 | To ensure sufficient time to provide high-quality, comprehensive proposals, is Avista willing to provide a two-week extension to the current submission deadline for responses? | No, Avista is not accepting extensions for this RFP.