## Summary
Metric | Group | MED | Vaulue
CAIDI Avg | Named Communites | Yes | 220.41
|  | No | 167.49
| Washington Customers | Yes | 205.39
|  | No | 149.79
CAIDI Median | Named Communites | Yes | 138.8
|  | No | 118.15
| Washington Customers | Yes | 116.09
|  | No | 89.58
10 Worst Feeders | Washington Customers | Yes | <10 Worst Feeders Tab>
No
CEMI 1-4 | Named Communities | Yes | 0.31
|  | No | 0.3
| Washington Customers | Yes | 0.39
|  | No | 0.35
CEMI 5-8 | Named Communities | Yes | 0.03
|  | No | 0.01
| Washington Customers | Yes | 0.02
|  | No | 0.01
CEMI >9 | Named Communities | Yes | 0.02
|  | No | 0.02
| Washington Customers | Yes | 0.02
|  | No | 0.01
CELIDs 8hr | Named Communities | No | 5386
| Washington Customers |  | 8778

## 10 Worst Feeders
10 Worst Performing Circuits in 2025
Worst Performing Circuit | SAIDI w/o MED |  |  |  | SAIDI with MED |  |  |  | SAIFI w/o MED |  |  |  | SAIFI with MED
| FEEDER | # of Years Feeder Has Been on List over Past 5 Years | Serves Named Community | Named Community Percentage | FEEDER | # of Years Feeder Has Been on List over Past 5 Years | Serves Named Community | Named Community Percentage | FEEDER | # of Years Feeder Has Been on List over Past 5 Years | Serves Named Community | Named Community Percentage | FEEDER | # of Years Feeder Has Been on List over Past 5 Years | Serves Named Community | Named Community Percentage
1 | GIF34F2 | 5 | Yes | 98.86 | GIF34F2 | 5 | Yes | 98.86 | GIF34F2 | 5 | Yes | 98.86 | GIF34F2 | 5 | Yes | 98.86
2 | GIF34F1 | 4 | Yes | 28.37 | GIF34F1 | 5 | Yes | 28.37 | GIF12F1 | 4 | Yes | 44.81 | GIF12F1 | 4 | Yes | 44.81
3 | GIF12F1 | 5 | Yes | 44.81 | CLV34F1 | 5 | Yes | 79.95 | GIF34F1 | 4 | Yes | 28.37 | GIF34F1 | 5 | Yes | 28.37
4 | VAL12F2 | 2 | Yes | 100 | GIF12F1 | 4 | Yes | 44.81 | CHW12F3 | 2 | Yes | 71.04 | CHW12F3 | 2 | Yes | 71.04
5 | CHW12F3 | 2 | Yes | 71.04 | CHW12F3 | 3 | Yes | 71.04 | CLV34F1 | 5 | Yes | 79.95 | CLV34F1 | 4 | Yes | 79.95
6 | VAL12F1 | 2 | Yes | 100 | VAL12F2 | 2 | Yes | 100 | VAL12F2 | 2 | Yes | 100 | L1312F1 | 2 | Yes | 100
7 | VAL12F3 | 1 | Yes | 100 | VAL12F1 | 2 | Yes | 100 | VAL12F1 | 2 | Yes | 100 | VAL12F2 | 2 | Yes | 100
8 | CLV34F1 | 4 | Yes | 79.95 | SPI12F2 | 4 | Yes | 93.85 | TKO412 | 2 | Yes | 6.33 | VAL12F1 | 2 | Yes | 100
9 | ROX751 | 5 | Yes | 100 | VAL12F3 | 2 | Yes | 100 | DIA231 | 2 | Yes | 54.24 | TKO412 | 2 | Yes | 6.33
10 | DIA231 | 1 | Yes | 54.24 | WAS781 | 1 | Yes | 100 | SPI12F2 | 3 | Yes | 93.85 | TKO411 | 2 | Yes | 98.92